## Slide 1: Norwegian development of high head Francis turbines - a brief historic review and some open question
Bjarne Børresen, PhD
Senior Hydro Turbine Engineer

## Slide 2: Outline
The «Norwegian tradition»
Open questions

## Slide 3: A small detour
1905 Independence
1906 Temporary licencing law (“the panic law”)
1910 NTH established

## Slide 4: Two key players
PM Gunnar Knudsen
Prof Gudmund Sundby

## Slide 5: 1917 Hydropower laboratory finished

## Slide 6: Solbergfoss hydro power plant
Notes: Mariana Mazzucato

## Slide 7: High head Francis turbines

## Slide 8: The Norwegian tradition
Oslo byarkiv: image no. A-20027/Ua/0011/136, via digitaltmuseum.no.

## Slide 9: Computational method

## Slide 10: Graphical integration of flow equations

## Slide 11: Splitter blades

## Slide 12: Splitter blades

## Slide 13: Water path scaling
– unchanged

## Slide 14: Series runner

## Slide 15: HP CAD / VK DAK

## Slide 16: Slutt – episode 1

## Slide 17: Off-set guide vanes

## Slide 18: Guide vane end seals

## Slide 19: Pre-stressed covers

## Slide 20: Pumping plates & non-contact shaft seal

## Slide 21: Open questions

## Slide 22: RSI – potential effect vs viscous wake

## Slide 23: RSI – importance of blade profile

## Slide 24: RSI – resonance mechanisms
Standing acoustic wave in rotor/stator void
Phase relation ship between unsteady guide vane and runner flow
Couple fluid and structure modes

## Slide 25: RSI – question of size

## Slide 26: Splitter blades vs single blades

## Slide 27: Spiral casing vs guide vanes

## Slide 28: RVR – importance of energy distribution

## Slide 29: Conclusion
Statkraft uprating in Hardanger – largest project in 40 years. Increasing from 250 MW to 880 MW